	[image: image1.jpg]




	[image: image2.png]




	Slip Free Systems 
1929 County Road 129  Pearland, Texas 77581 
Ph: 281-280-0656    Alt: 281-482-5577
Toll Free: 888-366-7752  Fax: 281-992-7547
www.slipfreesystems.com

	[image: image3.jpg]





Acid Application Instructions

Please Read Carefully
CAUTION:  Acid etching requires the use of strong chemicals. Used improperly these chemicals can result in severe injury. When handling harmful chemicals, always wear protective clothing, protective eyewear / face shield, rubber gloves, and boots. Do not breath vapors.

Always add acid to water. Never add water to acid!
Protect surfaces not to be etched from chemical vapors, splash and spill.
Dispose of all residual material according to local and national regulations.
Acid etching is the process of applying an acid solution to a concrete surface, allowing the acid to react with and 'etch' the concrete. Acid Etching of concrete is an acceptable, method for commercial concrete, stone or tile surface preparation. Etching is perhaps the most 'serious' surface preparation method available to 'do it yourselfers'. For such people, as well as professional flooring contractors the following guidelines are suggested (but not in any way endorsed, recommended or approved - follow at your own risk and responsibility!)

PROCEDURE 






…cont from page 1 (Slip Free Systems, Inc.) 

1. Clean floor with a detergent and rinse well. If the concrete is contaminated with oils or grease, the first step is to clean the surface with an alkali detergent cleaner and commercial degreaser (optimal removal is to use the detergent in combination with a steam cleaner)

2. Make the floor DAMP with ordinary water. Wet-out the concrete with clean fresh, potable water so the concrete is uniformly wet, without any standing or ponding water. The concrete must stay wet until the acid solution is applied.

3. Apply the acid solution in an even manner using a sprinkling can or acid tolerant pump spray unit like the ones used for spraying lawn chemicals. 

4. Work the acid solution into the concrete with a stiff bristle broom or scrubber. Apply acid solution uniformly over the surface of the concrete. The use of a plastic watering can will enable you to make sure fresh acid is applied evenly over the surface to be etched.  (Do Not take a bucket of acid and dump it over the floor and spread it around with a broom. It will roll over the area and will neutralize as it spreads out giving an uneven etch to the surface of the concrete.) Applied properly to a clean surface the acid will begin to bubble indicating that the acid is reacting with the concrete. (If the acid fails to bubble on all or parts of the floor it means that the surface wasn’t cleaned thoroughly enough and must be cleaned and etched again.) Use a stiff bristle brush to scrub the acid into the surface and remove the layer of concrete to create the profile needed to apply the coating system.

5. Let the acid sit for 10-20 minutes for ceramic tile, or 20-30 minutes on a concrete surface. Do not allow any areas of the etched concrete to dry out during this time. Always keep the surface wet. 

6. BEFORE the acid dries on the surface, remove residue with water hose or other high pressure water sprayer and vacuum up. Simply pouring water on the surface and wet vacuuming will not adequately remove the residue. Vacuum or somehow remove the spent acid.

7. Neutralize any acid residue. We recommend that you pour a box of baking soda into 5 gallons of water and fully saturate the treated surface. Then vacuum up the neutralizer and repeat. A bad acid rinse is probably worse than no acid etching at all so be sure to neutralize the acid and get it rinsed thoroughly with water only. 

8. Let the concrete completely dry and again sweep clean of any dust, dirt, and particles from the acid etching process. Drying the concrete can be accelerated by heat and the use of fans to blow air across the surface to the concrete.

Note: Your tile surface may appear to be slightly cloudy at first, this is a natural occurrence and will even out in a few days. 

